## Slide 1
Physics for Radiation Medicine: where do we go?
Paweł Olko
Institute of Nuclear Physics Polish Academy of Sciences
Notes: Prdicting the futuer is a risky job
fortune telling with tea leaves and cards

## Slide 2
It is difficult to predict future directions …
My younger colleague, in 10 years there will be no more radiotherapy, the progress of gene therapy is so quick ...
Prof. Marian Reinfuss
chief radiation oncologist in Poland in 2004
… in 2023 105 890 patients in Poland underwent radiation therapy

## Slide 3
Outlook
1. Physics for radiation medicine: how did I get here?
2. Physics for radiation medicine: where do we go?
- detectors and dosimeters
- accelerators
- isotopes

## Slide 4
Challenges of radiation therapy
What to irradiate?
How to irradiate?
Was the irradiation correct?
Gross Tumor Volume
Clinical Target Volume
Planning Target Volume
Organ at Risk

## Slide 5
Radiation physics for medicin: how did I get here?
radiation sources & accelarators
detectors and dosimeters
models
diagnostics
Curt. R. Kopec

## Slide 6
Directors IFJ PAN supported development of cyclotrons at IFJ PAN
prof. A. Budzanowski
Director IFJ PAN 1990 -2004
prof. M. Jeżabek
Director IFJ PAN 2004 -2020
prof. T. Lesiak
Director IFJ PAN from 2020

## Slide 7
The competences in accelerator techniques was present from the beginning of the institute
C-48
2.5 MeV p
put in operation
28.12.1956
U-120
put in operation
11.1958
AIC-144
60 MeV p
first therapy
02.2011
C-230
228 MeV p
first beam
2013

## Slide 8
Thermoluminescent detectors
IFJ PAN success story

## Slide 9
Thermoluminescence and thermoluminescent detectors
Yukihara, SSD 15, 2007
Heating
Luminescence
2 stages process:
Irradiation
free charge produced by ionizing radiation is trapped
2) Readout
Heating removes charge from trapping centers, recombination with emission of luminescent light

## Slide 10
1974 he patented LiF:Mg,Ti (MTS-N) thermoluminescence detectors. Today LADIS monitors 50,000 of radiation workers using those detectors,
1983 thin layer CaSO4:Dy for radon measurements. For the next 30 years radon monitoring in Polish coal mines was based on those detectors
1985 high sensitive MCP-N (LiF:Mg,Cu,P) Break- through in environmental monitoring – it is possible to measure dose after a few hours of environmental exposure
Tadeusz Niewiadomski (1920-1996)
Tadeusz Niewidomski, the father of thermoluminescent dosimetry
Radon monitoring of miners in Polish coal mines using detctors and device Alfa-31 developed by T. Niewiadomski

## Slide 11
Microdosimetry – high doses in small volumes
p+
ionizations
Indirect events
Direct events
Tools:
Monte Carlo Track Structure codes
MOCA-8, MOCA-14, TRION
Nowadays: GEANT4 DNA
Results:
Analytical model for calculation of microdos. distributions for protons
Simulation of response of detectors
Biological Response Function

## Slide 12
10th Solid State Conference, Washington July 1992
M. Budzanowski
M. Maligórski
P. Bilski

## Slide 13
Anomalous photon energy response of MCP-N (LiF:Mg,Cu,P)
?
Relative energy response S’(E) of MCP-N (LiF:Mg,Cu,P) - does not follow ratio of mass energy absorption coefficients of LiF and air

## Slide 14
Anomalous photon energy response of MCP-N (LiF:Mg,Cu,P)
Relative energy response S’(E) of MCP-N (LiF:Mg,Cu,P) - does not follow ratio of mass energy absorption coefficients of LiF and air
Microdosimetric effect caused by a reduction of relative efficiency, h, due to local saturation of response
The best oral presentation of 10th Solid State Dosimetry conference, Washington, 1992
Olko, P., Bilski, P., Ryba, E., & Niewiadomski, T. (1993). Microdosimetric interpretation of the anomalous photon energy response of ultra-sensitive lif:mg,cu,p tl dosemeters. Radiation Protection Dosimetry, 47(1-4), 31-35. https://doi.org/10.1093/oxfordjournals.rpd.a081697

## Slide 15
Broad applications of TLDs from IFJ PAN to dosimetry
Space flights – Matroshka project
Environmental measurements
Personal dosimetry
2D- irradiation after proton irradiation
P. Bilski, M. Budzanowski, M. Kłosowski, P. Olko – more than 100 papers published on TLDs

## Slide 16
Mailed dosimetry network built by IAEA
Is the dose to patient treatment correct?
– mailed dosimetric audit of radiotherapy units
The system developed by J. Iżewska (IAEA)
TLD detectors distributed to hospitals
Irradiated at each radiotherapy unit
Returned and read-out at IAEA
The result should be within 2-5%
If exceeding 10% - the hospital inspected
Mailed dosimetric audit

## Slide 17
Corrections of response on fading (ffad), holder (fhol), energy (fengy) and linearity (flin)
Challenge: accuracy of dose measurements
< 1 %
Detector: thermoluminescent LiF:Mg,Ti
Mailed dosimetric audit of radiotherapy units – method
I worked at IAEA to develop and modify the TLD system 1998-1999

## Slide 18
Calibration laboratories - a must for radiation therapy
First dosimetric laboratory in Poland with accreditation od Polish Center of Accreditation (2001)
Calibration for radiotherapy
Theratron 780 with Co-60,
high dose rate ( 1 Gy/min)

## Slide 19
Microdosimetric calculations of relative biological effectivness (RBE) of protons
y = (energy deposited / mean chord lengths of target)
r(y) - biological response function
di(y) - lineal energy distribution
Conclusions:
- RBE grows at the end of Bragg peak
- depends on dp/p of the initial proton beam

## Slide 20
The beginning of proton eye cancer therapy
Bożena Romanowska –Dixon,
The head of Clinic of Ophthalmology and Ophthalmic Oncology, Collegium Medicum UJ Krakow
Jan Swakon the head of Proton Radiotherapy Group (2011) , IFJ PAN
Jacek Sulikowski, the head of AIC-144 cyclotron
Konrad Guguła the head of
C-230 cyclotron
Tomasz Kajdrowicz
developed TPS for eye treatment (2011)

## Slide 21
Proton therapy of eye – a long way to the first patient (1994 – 2011)
First internat. workshop
Proposal to D-PL fundation –
failed
Proposal to KBN – failed
Funding eye treatment room KBN opening 21.02.2001
Funding by PAA
installation of AIC cyclotron
Funding new HF generator to AIC by Min. Science
Extraction 58 MeV beam from AIC
Proposal for offset for F-16
failed
Proposal to Min. Health- failed
Funding treatment chair – Min Health - 2006-2007
Funding dosimetry IAEA- 2009
Norwegian Fund 2010
Proposal Isotopes and Accelerators
failed
First treatment of eye at AIC-144 18.02.2011

## Slide 22
T. Kajdrowicz, M. Bajer
Treatment Planning System Eclipse
The method of proton therapy of eye cancer
To learn more go to Jurek Grębosz web page:
https://www.ifj.edu.pl/private/grebosz/new_look/filmy_ang.html

## Slide 23
The first eye treatment completed, February 2011

## Slide 24
P. Olko
M. Zydek
M. Jeżabek
A. Maj
Cyclotron Centre Bronowice: the teamwork (March 2011)

## Slide 25
Cyclotron Centre Bronowice: from the first proposal to the first patient (2006–2016)
First proposal to OP IE failed
Signing first contract with IBA 08.2010
Building completed
Proposals for CCB and gantry – failed
Installation of C-235 cyclotron May 2012
Gantry 2 operational
Gantry 1 operational
Poland joint EU
Contract with Min. Science for CCB- 1st phase
First promise from Min. Science for 25 MEuro
First patient February 2016
Contract with Min. Science for gantry

## Slide 26
Ionizing radiation was used for diagnosis and therapy immediately after discovery
: X-rays were used for the first time to treat cancer, in breast cancer patients
1900: Skin cancer patients were treated
with X-rays
1903: The first attempt to treat leukemia
with radiation therapy
Wilhelm Konrad Röntgen discovery of x-rays on 28 Dec 1895
7 Feb 1896 first diagnosis at University Hospital, Kopernika street, Krakow
Radiation Therapy
It is impossible nowadays – before a device is to be used to treat patients it must receive a CE Medical or FDA (USA) stamp

## Slide 27
CE Medical certificate for eye treatment line – 2015
The first patient February 2016

## Slide 28
Dr. Natalia Mojższek
Dr. A. Wochnik
Dr. J. Baran
Acknowledgements to my graduates in proton therapy and/or TLDs
Dr. Fabio Schirru
Dr. M. Puchalska
Dr. K. Jeleń
Dr. L. Stolarczyk
Dr. M. Kłodowska
Dr hab. R. Kopeć
Dr. J. Gajewski
Dr. M. Garbacz
Dr. M. Liszka
Dr. B. Obryk

## Slide 29
> 1800 patients treated with protons
> 100 children
40-50 patients are irradiated every day
Patient treatment at the Cyclotron Centre Bronowice
dr hab. Renata Kopeć,
Prof. IFJ PAN, head of CCB

## Slide 30
Research projects on medical physics
1. HORIZON-EURATOM-2021-NRT-01 ,"Towards safe, optimized and personalized radiology and radiotherapy procedures for pregnant patients" (SONORA) Dawid Krzempek 2024/08/X/NZ7/00625
2. MINIATURA 8 Tytuł: Combination of modern, complex multidrug chemotherapy with radiotherapy (proton or photon) as a new treatment strategy for glioblastoma multiforme, Anna Zając-Grabiec, 11.10.2024 - 10.10.2025, 49 500 zł
3. Science for Society, NdS/544985/2021/2021 Image-guided proton radiotherapy for the treatment of musculoskeletal tumors, Renata Kopeć, : 31.05.2022 - 31.05.2025, 1 715 800 zł
4. Science for Society II, NdS-II/SP/0295/2023/01, The importance of proton radiotherapy in the treatment of patients with central nervous system tumors, Justyna Miszczyk, 21.12.2023 - 20.12.2026, 1 000 000 zł
5. Science for Society NdS-II/SP/0292/2024/01, Optimization of irradiation methods and dosimetric characteristics of the FLASH proton beam, Marzena Rydygier, 29.03.2024 - 28.03.2027, 1 000 000 zł
6. Science for Society 01.01.2025, NdS/544748/2021/2021, Application of computational dosimetry in proton radiotherapy of oncological patients, Antoni Ruciński, 02.09.2022 - 01.01.2025, 1 570 200 zł
7. Weave-UNISONO, Computational and Experimental Nanodosimetry in Proton Radiotherapy, Antoni Ruciński, 3 343 200 zł , 48 months
8. SONATA BIS-14, From Plasmid DNA to FLASH Radiotherapy: Experiments and Computations, Antoni Ruciński, 5 536 200,00 zł
9. Pianoforte: KAYAC+: Knowledge on outcome of adolescent and young adults with cancer – Renata Kopeć (in signature)
10. NCN SONATA 2021/43/D/ST5/03042 3D dosimetry based on optically stimulated luminescence - facilitating the high-resolution proton radiotherapy, Michal Sądel, 2022-2025 (810 000 zł) NZ63

## Slide 31
Radiation physics contribution to medicine: where do we go?

## Slide 32
Challenges: proton range uncertainty
Because of range uncertainty additional margin M is set:
3.5% of the range + 1–3 mm
For range R= 15 cm -> M = 8.3 mm
The major source of uncertainty (up to 3%) comes from ambiguity of proton Stopping Power Ratio (SPR):
Haunsfield unit
HU(r1,Z1) = HU (r2, Z2)
SPR (r1,Z1) ≠ SPR (r2,Z2)
Dong, 2012

## Slide 33
Proton range uncertainty
Solution: Dual Energy Computed Tomography (DECT)
N. Peters et al. Rad. Oncol. 166 (2022)
Combination of H as a combination of HU for low energy (80 kVp) and high energy (140 kVp) X-rays

## Slide 34
Proton range uncertainty
Solution: PET monitoring of proton induced b+ activity in the body
A. Ruciński LIDER/26/0157/L-8/16/NCBR/2017
J-PET setup at CCB in collaboration with P. Moskal (UJ)
MC simulation of produced and reconstructed activiy from J-PET measurements

## Slide 35
Carbon ions: how to determine range uncertainties?
Radioactive C-11 beam, b+ T1/2 = 21.34 min
Measurements with Positron Emission Tomography (PET) allows to determine the stopping ends of C-11 ions
C-12 and He-4 beams are accelarated simultanously
He-4 ions of the same E/amu are passing the patient and their range allows to determine the range of C-12 in patient
L. Volz et al., Phys Med Biol 65, (2020), DOI: 10.1088/1361-6560/ab6e52
D. Boscolo et al., Front. Oncol. 11, (2021), DOI: 10.3389/fonc.2021.737050

## Slide 36
FLASH irradiation: the hope or illusion?
FLASH radiotherapy (FLASH-RT)
is a cancer treatment that delivers an extremely high dose of radiation to a tumor in a short (< 1 s) time.
Damian Wróbel: PhD Thesis Dosimetry of FLASH protons at AIC-144
supervision of Jan Swakoń
at IFJ PAN
Antoni Ruciński
From Plasmid DNA to FLASH Radiotherapy: Experimental and Computational Insights
Sonata Bis (2025-2027)
Worth to investigate: both positive or negative result might be interesting
FLASH not confirmed clinically (only on a few patients treated)
Marzena Rydygier
Dosimetric characterization of the FLASH beam
Science for Society (2024-2026)

## Slide 37
Attempts to decrease the price of proton and ion therapy
Treatment in the upright position
Volz et al. Phys. Med. Biol. 69 (2024)
- The costs of the rotating gantry is very high
- The scanning beam should have only magnets moving beam vertical

## Slide 38
Treatment in the upright position at CCB?
- Potentially , there is a place at CCB for installation of such a treatment chair
- It might increase the patient throughput even by 50%
The place for installation of beam line

## Slide 39
Cyclotron Centre Bronowice – a mid life upgrade?
Next generation true DECT
Cone Beam CT for better patient positioning
Line for upright position?
Modern Treatment Planning System (RaySearch)?

## Slide 40
Reactors
Cyclotrons
a variable-energy IBA Cyclone® 30 XP,
p(400 mA), d (50 mA), a (50 mA)
from 15 to 30 MeV
11C, 15O, 18F, 47Sc, 61Cu, 64Cu, 67Cu, 67Ga, 68Ge, 82Sr, 89Zr, 99Mo, 111In, 123I, 124I, 201Tl, 211At, 225Ac
30 MW Maria reactor at Świerk by Warsaw
131I, 35S, 32P, 99Mo, 153Sm, 169Yb, 60Co and 177Lu
www.technopolis-group.com
Progress to fight metastasis - radioisotopes
Notes: Select the isotope you want to produce to see which equipment you need.
F18
N13
Zr89
Cu64
Cu61
Tl201
Ga67
Sr82
Ge68
Mo99
At211
Ac225
Cu67
Sc47
Laser-accelerated proton beams have been applied to radioisotope production for medical purposes by several groups.1–4 In 2011, Kimura and Bonasera5 analyzed the feasibility of laser production as an alternative to other methods. Since then, laser technology has greatly improved, and high-repetition lasers in the petawatt regime are available at a cost competitive to accelerator-based systems. These laser systems rely on chirped pulse amplification (CPA)6 to push laser intensities beyond 1018 W/cm2. At such intensities, ions from the target surface irradiated by the laser beam are accelerated to energies of several MeV by the action of the laser in stripping the less strongly bound electrons from the target and thus creating a strong (repulsive) electric field that accelerates the ions. Without going into the details of the mechanism, we will loosely refer to it as target normal sheath acceleration (TNSA),1–5 and we discuss an intuitive scenario which we put to an experimental test in this work. We assume that the stripped electrons leave a positively charged target. Ions or protons on the opposite sides of the target surface feel the repulsive Coulomb field, are accelerated, and leave the target area, thus decreasing the Coulomb repulsion. In particular, the shorter the laser pulse, i.e., the faster the laser energy is released on the target, the more rapidly the positive electric field at the target increases. Thus, we may expect higher proton energies for shorter pulses and thin targets.4 The accelerated ions will move in the direction perpendicular to the target and in both directions (i.e., forward and backward) with respect to the laser direction, possibly with different intensities. With protons reaching 60 MeV and above,7 isotope production becomes possible, and in this context, we will discuss experimental results on the following systems:
63Cu(p,n)63Zn, Q = −4.15 MeV;
70Zn(p,4n)67Ga, Q = −27.68 MeV;
70Zn(p,α)67Cu, Q = 2.62 MeV;
10B(p,α)7Be, Q = 1.14 MeV;
11B(p,n)11C, Q = −2.76 MeV;
18O(p,n)18F, Q = −2.44 MeV.

## Slide 41
Accelerators for Alpha Emitters Production – a Chance for IFJ PAN?
Radiolabeled antibodies particularly effective with alpha-emitting radionuclides:
Cyclotrons have too small current for efficient production of Astatine-211 (T1/2 = 7.2 h), limited by extraction losses.
209Bi (a, 2n) 211At
The optimal energy for this reaction: 28 MeV (below the threshold for production of 210Po)
Spin-off of low energy section of carbon therapy linacs q/m =1/2
Beam current offered by ion sources designed at CERN: 2 mA!!!!
dr Arshiya Anees Ahmed (NZ64)
IFJ PAN seminar 27-02-2025
Department of Nuclear Physical Chemistry (NZ64) (prof. J.W. Mietelski) has long competences in investigation the process of production of radioisotopes
Notes: Lutet (177Lu) rozpada się do stabilnego hafnu (177Hf). Rozpadowi towarzyszy emisja cząstek β- o maksymalnej energii 498 keV (średnio 149,2 keV) i emisja kwantów promieniowania gamma o energiach głównie 208 keV (10,4%) i 113 keV (6,2%). Okres półtrwania lutetu (177Lu) wynosi 6,65 dni.
Radiolabbeled antibodies particularly efefctive with alpha-emitting radionuclides
Metasttic
Personalised medicinie
If the isotope is also gamma or beta emiter can be coupled to diagnostc too optimise the dose (theragnostics)

## Slide 42
Scientific Advisory Committee of IFJ PAN (2025)
Someone from applications of physics ?
Someone from a proton therapy center?
prof. Fulvio Piccinini (Istituto Nazionale di Fisica Nucleare),
dr Maurizio Vretenar (CERN),
prof. Robert Feidenhans’l (European XFEL GmbH),
prof. Marek Lewitowicz (Grand Accélérateur National d’Ions Lourds),
prof. Achille Stocchi (Laboratoire de physique des 2 infinis - Irène Joliot-Curie)
,
prof. Helmut Schober (European Spallation Source).

## Slide 43
Where do we go?
Is the upgrade of CCB a priority?
What with CCB after 2035?
Should we plan any other significant infrastructure at IFJ PAN within next 10 years?
Should it be discussed within the Scientific Council of IFJ PAN?

## Slide 44
Where do we go?
Is the upgrade of CCB a priority?
What with CCB after 2035?
Should we plan any other significant infrastructure at IFJ PAN within next 10 years?
Should it be discussed within the Scientific Council of IFJ PAN?
ChatGPT ….
Yes, the expansion of Centrum Cyklotronowe Bronowice (CCB) is a strategic priority for the Institute of Nuclear Physics Polish Academy of Sciences (IFJ PAN).
The project is part of Poland's national roadmap for research infrastructures, which includes 70 high-potential scientific facilities.
CCB is listed among these due to its significant contributions to both medical and fundamental research.
In summary, the development of CCB is a central component of IFJ PAN's mission to advance both scientific research and medical applications, aligning with national and international strategic objectives.

## Slide 45
Where do we go?
Is the upgrade of CCB a priority?
What with CCB after 2035?
Should we plan any other significant infrastructure at IFJ PAN within next 10 years?
Should it be discussed within the Scientific Council of IFJ PAN?
ChatGPT…
Yes, planning additional significant infrastructure at the Institute of Nuclear Physics Polish Academy of Sciences (IFJ PAN) within the next decade is advisable.
IFJ PAN is actively involved in several strategic projects that align with national and international research priorities. These initiatives are part of the Polish Roadmap for Research Infrastructures, which identifies key facilities contributing to scientific excellence and innovation.​
Currently, IFJ PAN is coordinating the Cyclotron Centre Bronowice (CCB) and the Centre of Engineering of Cryogenic Materials and Research Equipment (…)
Given the dynamic nature of scientific research and technological advancements, it is essential to continually assess and plan for infrastructure development. This ensures that IFJ PAN remains at the forefront of scientific discovery and continues to contribute effectively to both national and international research communities.

## Slide 46
Thank you!
This was only possible because I had the privilege of working at IFJ PAN